Some comments

concerning ICNIRP Guidelines for limiting EMF exposure

for frequencies 100 kHz – 300 GHz,

and C 95.1- 2005,  review 2018

Terminology

ICNIRP: adverse health effects from direct, non-medical exposures to both short- and long-term, continuous and discontinuous radiofrequency EMFs

C 95.1: EMF biological effects reveals that electrostimulation is the   dominant effect at low frequencies, and thermal effects dominate at high frequencies

My opinion: the definitions in C 95.1 are more clear, only “biological effects” should be distinguished from “adverse health effect” as it is very well defined in Section 3.1. Definitions.

Terminology

ICNIRP: There is no list of definitions and acronyms

C 95.1: Section 3. Definitions, acronyms… exists

My opinion: It is better to have this chapter 3. Where definitions, acronyms, terms and abbreviations to be included as it is done in C 95.1. There, all differences in terms and definitions used by the two documents can be explained, eliminate or uniform.

ICNIRP: basic restrictions (BRs) and reference levels (RLs)

C 95.1: dosimetric reference limits (DRLs) and exposure reference levels (ERLs)

My opinion: they are identical, only the terms are different. Better to use the Directive 2013/35/EC terminology for occupational exposure, and the ICNIRP terminology for the general population.

ICNIRP: occupational exposure: EMF-derived threshold, and operational threshold.

C 95.1: controlled environment; action levels; two tires – lower and upper

My opinion: the ICNIRP definition for the type of exposure is more clear and understandable. Concerning the two tier levels, the C 95.1 is better and closer to the terms used in Directive 2013/35/EC. Moreover, the definitions in Section 3.1. Definitions in C 95.1 very clear explain that occupational exposure is the same as restricted area.

ICNIRP: electrostimulation up to 10 MHz – non-thermal effect

C 95.1: electrostimulation up to 5 MHz for pulsed fields

My opinion: 5 MHz for pulsed fields is more acceptable from biophysical point of view but 10 MHz is the boundary between thermal and non-thermal effects in the Directive 2013/35/EC. It is better to be closer to the terms in the EU Directive 2013/35/EC.

ICNIRP: more information about health effects above 100 kHz by the scientific literature

C 95.1: less information about health effects above 100 kHz by the scientific literature

My opinion: I think that here there is no need so many literature sources to be cited as the C 95.1 approach is better for me.

ICNIRP: very good explanation about the influence of RF exposure to the body core temperature, local temperature and for possible rapid temperature rise

C 95.1: thermal crossover at frequencies where electrostimulation occurs, and thermal effects for CW exposure at higher frequencies

My opinion: combination of the two explanations will be good.

In my opinion, the ICNIRP reference levels are more simple and usable than these in C 95.1. This is better for comparison with the EU Directive 2013/35/EC, and better for use by national control bodies.

On the other hand, the exposure limits for unrestricted areas presented in C 95.1 are more detailed and include local exposures, different modulations of the field, graphs for better understanding, and I like them much more than the ICNIRP Guidelines.

In my opinion, both approaches are good and should be kept. The first one - the C 95.1 approach, for detailed and strict evaluations, and the second one - the ICNIRP approach, for simplifying the procedure of the exposure assessment.

Michel Israel, Bulgaria